Version 2026-04-08 23:05, Eric Pohl

## Course work

### Day 1 ------------------------------------------------------------------------

- Welcome (8:00-8:15)

  - Aims

  - Expected outcomes

  - Wishes

  - Outline for the 2 days

  - Material and presentations

  - Online recording

  - Previous experience / current problems

    - LIST:

- Introduction (8:00-9:00)

  - Glacier melt and water availability

  - Groundwater vs ice and snow

  - Modelling equifinality

  - Hydrological observations

    - Water level

      - Semi-quantitative

    - Discharge

      - Quantitative

    - Water physical properties and chemistry

      - Elect. Conductivity

      - Temperature

      - Stable isotopes

      - Radioactive isotopes (129I)

- Theoretical basis (9:15-10:00)

  - “How to get continuous discharge estimates?”

  - Water level

    - Pressure transducers

    - Installation position

    - Parameters (installation, angle, depth, etc.)

  - Discharge (fluorometer)

    - Global method

  - Rating curve

    - Stream channel cross sections

    - Polynomial function

    - H0 – depth of no flow

- Water level (10:00-11:00)

  - Instruments

    - HOBO

    - Van Essen

    - Others …

    - 2 x (atmosphere and water)

  - Construction/Installation

    - Position (water)

      - Pools

      - Rapids

      - Bolder sizes

      - Indicators for (un)stable riverbeds

    - Tubes and tools

      - Wire, drill, saw, bolts, threaded rods, …

      - Tape measure

      - Angle measurement

      - GPS and photos

    - Verify depth of water probe

      - Photos, triangulation, tape measure

  - Starting devices & reading out data

    - Software

    - Shuttle/USB reading device

- Discharge introduction (11:00-12:00)

  - Fluorescence

  - Tracer

    - Toxic vs non-toxic

    - Detection limit

  - Optical method

    - Problems with sediments

  - Mixing length

  - Injection amount

  - Calibration

  - Color deterioration under sunlight

- Discharge preparation (13:00-14:00)

  - Instruments, equipment and tools

    - FL30

    - Logger

    - Battery

    - SD-card

  - Choosing location

  - Setup instrument

  - Calibration solution (preparation – before the fieldwork)

- Discharge measurements (14:00-15:00)

  - Calibration (in the field)

  - Injection (preparation – before the fieldwork)

  - Injection (in the field)

  - Repeated measurements

    - Water level variation

    - Switching between sites

    - Repeated calibration

    - Documentation (water quality, timing, weather, photos…)

  - Trouble shooting

    - Jumping signals

    - Unclear mixing /switching positions

  - Dangers (sun exposition)

    - Overestimation!

- Programs introduction (15:00-15:30)

  - Water level logger software

    - HOBOWare

    - Diver Office

    - Excel

  - Renkulab

    - Python

    - RStudio

    - Parameter file

  - Local installation (see installation tutorial)

  - Excel

- Discussion (15:30-16:00)

### Day 2 ------------------------------------------------------------------------

- Water level analysis (08:00-09:00)

  - Reading data from logger

  - CSV file cleaning (Excel)

    - L2 – frozen and unreliable data removal

  - Atmospheric correction

  - Water base level adjustments (renkulab)

- Discharge data preparation (09:00-10:00)

  - Data from SD-card

  - Transformation binary to mV

  - Splitting individual measurements

  - Preparing metadata file (Excel)

    - Notebook records!

- Discharge data analysis I (10:00-11:00)

  - RScripts (interactive work)

  - Noise

  - Calibration

  - Breakthrough curve

- Discharge data analysis I (11:00-12:00)

  - Version 1 & Version 2

  - Injection amount

    - Base solution

    - Injection volume

    - (calibration amounts – Version 2)

  - Repeated measurements

  - With and without extrapolation (early measurement interruption)

  - Filling in the overview file (Excel)

- Rating curve data preparation (13:00-14:00)

  - Data pair (water level – discharge) preparation (Excel)

  - H0 range definition

  - Manual showcase polynomial fit

    - Uncertainty

    - H0

- Rating curve calculation (14:00-15:00)

  - Results

    - Uncertainty

    - Low, mid, high

  - Issues

  - Work in progress

- Discussion (15:00-16:00)

  - Feedback

  - Future work in Central Asia

  - Combined scientific research database

    - In prep.

    - Interest?